**Supplemental Materials**

Article information: <https://doi.org/10.14218/CSP.2022.00019>

|  |
| --- |
| **De-conjugation** |
| Urine + 40µl β-glucuronidase in phosphate buffer (pH 7.2,250 units/µl), 37 ̊C overnight |

|  |
| --- |
| **Solid-phase extraction with TSNA-specific cartridge** |

|  |
| --- |
| Pre-condition |
| 1. 10 ml methanol/dichloromethane (9:1)
2. 1 ml methanol
3. 1 ml water
 |

|  |
| --- |
| **Addition of Urine** |
| 6 ml urine treated with β-glucuronidase |

|  |
| --- |
| Wash |
| 1. 4 ml ammonium acetate (10 mM)
2. 2 ml heptane
3. 1 ml hexane
 |

|  |
| --- |
| **Eluted** |
| 3 ml dichlonomethane/toluene (1:1) |

|  |
| --- |
| **Evaporation and reconstitution** |
| Dried in a speed vacuum concentrator (80 °C, 90 min) and re-dissolved with 1 mL PBS |

|  |
| --- |
| **Solid-phase extraction with MCX cartridge** |

|  |
| --- |
| Precondition |
| 1. 2 ml methanol
2. 1 ml methanol/25% ammonium hydroxide (9:1)
3. 2 ml water
 |

|  |
| --- |
| **Addition of extract**  |
| 1 mL of TSNA purified extract |

|  |
| --- |
| Wash |
| 1. 2 ml water
2. 2 ml 0.1 N HCl
3. 2 ml methanol
 |

|  |
| --- |
| **Eluted** |
| 2 ml methanol / 25% ammonium hydroxide |

|  |
| --- |
| **Evaporation and reconstitution** |
| Dried in a speed vacuum concentrator (65 °C, 40 min) and re-dissolved with 100 µl 0.1% ammonium acetate in water/0.1% Formic acid in acetonitrile (9:1) |

|  |
| --- |
| Add internal standard (IS) |
| + 5µl 25ng/mL NNAL-d3, + 5µl 25ng/mL NNN-d4 |

|  |
| --- |
| **LC-MS** |

Fig. S1. Sample preparation for determination of urinary NNN and NNAL metabolites.