**Supplemental Table 1. MR parameters**

|  |
| --- |
| **1.5T GE Signa HDxt**  |
| **Parameter** | **FIESTA** | **T2WI** | **DWI****b=800** | **T1WI****FS** | **T1WI****dual** | **T1WI+C****Mph** | **T1WI+C** | **T1WI+C****delay** |
| Image mode | 2D | 2D | 2D | 2D | 2D | 3D | 3D | 3D |
| Special parameters | GRE | FRFSE | EPI | FSPGR | FSPGR | LAVA | LAVA | LAVA |
| Breath | Hold breath | Respiratory triggering | Hold breath | Hold breath | Hold breath | Hold breath | Hold breath | Hold breath |
| Scan plane | Cor | Ax | Ax | Ax | Ax | Ax | Cor | Ax |
| Fat suppression | No | Yes | No | Yes | In-phaseOut-phase | Yes | Yes | Yes |
| TR in ms | 3.4 | 8000 | 6667 | 220 | 220 | 3.3 | 3.5 | 3.3 |
| TE in ms | 1.5 | 86 | 69 | 2.2 | 2.2/4.8 | 1.6 | 1.7 | 1.6 |
| FOV in cm | 38×38 | 38×29 | 38×29 | 38×34 | 38×34 | 38×34 | 40×40 | 38×34 |
| Slice thickness in mm | 5 | 6 | 6 | 6 | 6 | 4 | 3 | 4 |
| Spacing | 0.5 | 1.2 | 1.2 | 1.2 | 1.2 | -2 | -1.5 | -2 |
| Slices | 20 | 24 | 24 | 24 | 24 | 92 | 88 | 92 |
| Matrix | 224×224 | 288×224 | 128×128 | 288×170 | 288×170 | 288×160 | 300×224 | 288×160 |
| NEX | 1 | 2 | 4 | 1 | 1 | 0.72 | 0.71 | 0.72 |

**Supplemental Table 1-continued. MR parameters**

|  |
| --- |
| **3.0T GE Discovery MR750w** |
| **Parameters** | **T2WI** | **T2WI** | **DWI****b=800** | **LAVA****FLEX** | **IDEAL****-IQ** | **T1W+C****Mph** | **T1W+C** | **T1W+C****delay** |
| Image mode | 2D | 2D | 2D | 3D | 3D | 3D | 3D | 3D |
| Special parameters | SSFSE | FSE-XL | EPI | LAVA | IDEAL | LAVA | LAVA | LAVA |
| Breath | Hold breath | Respiratory triggering | Respiratory triggering | Hold breath | Hold breath | Hold breath | Hold breath | Hold breath |
| Scan plane | Cor | Ax | Ax | Ax | Ax | Ax | Cor | Ax |
| Fat suppression | No | Yes | Yes | No/Yes | - | Special | Special | Special |
| TR in ms | Min | 8000 | 8000 | 6.6 | 7.3 | 4.1 | 4.2 | 4.1 |
| TE in ms | Min | 85 | Min | MinFull | Min | 1.9 | 2 | 1.9 |
| FOV in cm | 42×42 | 38×38 | 38×38 | 38×34 | 40×40 | 38×34 | 40×40 | 38×34 |
| Slice thickness in mm | 5 | 6 | 6 | 4 | 8 | 4 | 3 | 4 |
| Spacing in mm | 0.5 | 1.2 | 1.2 | -2 | 0 | -2 | -1.5 | -2 |
| Slices | 24 | 24 | 24 | 96 | 32 | 96 | 136 | 96 |
| Matrix | 288×256 | 288×224 | 128×128 | 288×180 | 160×160 | 288×170 | 300×224 | 288×170 |
| NEX | 0.53 | 2 | 2 | 1 | 0.5 | 0.72 | 0.71 | 0.72 |

**Supplemental Table 1-continued. MR parameters**

|  |
| --- |
| **3.0T Siemens MAGNETOM Prisma**  |
| **Parameters** | **T2WI** | **T2WI** | **Diff** | **q-dixon** | **VIBE** | **T1WI+C****VIBE** | **T1WI+C****VIBE** | **T1WI+C****delay** |
| Image mode | 2D | 2D | 2D | 3D | 3D | 3D | 3D | 2D |
| Special parameters | Haste | TSE | EPI | - | Dixon | Dixon | Dixon | Dixon |
| Breath mode | Hold breath | Respiratory triggering | Free breath | Hold breath | Hold breath | Hold breath | Hold breath | Hold breath |
| Scan plane | Cor | Tra | Tra | Tra | Tra | Tra | Cor | Tra |
| Fat suppression | No | SPAIR | SPAIR | - | - | Yes | Yes | Yes |
| TR in ms | 800 | 2000-5000 | 2400-3000 | 9 | 3.89 | 3.89 | 4.21 | 3.89 |
| TE in ms | 91 | 83 | 58 | 1.05 | 1.23 | 1.23 | 1.34 | 1.23 |
| FOV in mm × % | 360×100% | 400×87.5% | 420×65.7﹪ | 450×87.5% | 400×81.3% | 400×81.3% | 400×81.3% | 400×81.3% |
| Slice thickness in mm | 5 | 6 | 6 | 3.5 | 3 | 3 | 1.5 | 3 |
| Spacing | 20% | 30% | 30% | 20% | 20% | 20% | 20% | 20% |
| Slices | 20 | 30 | 30 | 64 | 72 | 72×5 phases | 144 | 72 |
| Matrix size | 320×100% | 384×80﹪ | 134×100% | 160×79% | 288×75% | 288×75% | 320×90% | 288×75% |
| NEX | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 |

**Supplemental Table 1-continued. MR parameters**

|  |
| --- |
| **3.0T Philips Ingenia** |
| **Parameters** | **T2WI** | **T2WI** | **Diff** | **mDixon Quant** | **mDixon** | **mDixon** | **mDixon cor** | **mDixon** |
| Image mode | 2D | 2D | 2D | 3D | 3D | 3D | 3D | 2D |
| Special parameters | SSTSE | TSE | EPI | - | Dixon | Dixon | Dixon | Dixon |
| Breath mode | Hold breath | Respiratory triggering | Free breath | Hold breath | Hold breath | Hold breath | Hold breath | Hold breath |
| Scan plane | Cor | Tra | Tra | Tra | Tra | Tra | Cor | Tra |
| Fat suppression | No | SPIR | SPAIR | - | Yes | Yes | Yes | Yes |
| TR in ms | 924 | 2000-5000 | 2000 | 5.7 | 3.7 | 3.6 | 3.5 | 3.6 |
| TE in ms | 80 | 78 | 69 | 0.97 | 1.32 | 1.31 | 1.14 | 1.31 |
| FOV in mm | 450×398 | 380×380 | 400×272 | 400×300 | 400×362 | 400×352 | 380x418 | 400×352 |
| Slice thickness in mm | 5 | 6 | 6 | 6 | 4 | 4 | 3 | 4 |
| Spacing in mm | 0.6 | 1.2 | 1.2 | -3 | -2 | -2 | -1.5 | -2 |
| Slices | 24 | 24 | 24 | 80 | 100 | 100×2 phases | 80 | 100 |
| Matrix | 376×290 | 280×280 | 124×75 | 168×119 | 252×228 | 252×222 | 200×220 | 252×222 |
| NEX | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 |

EPI, echo planar imaging; FIESTA, fast imaging employing steady-state acquisition; FOV, field of view; FRFSE, fast relaxation fast spin echo; FSPGR, fast spoiled gradient recalled echo; GRE, gradient echo; HASTE, half-Fourier acquisition single shot turbo spin echo; IDEAL-IQ, Iterative Decomposition of water and fat with Echo Asymmetry and Least squares estimation; LAVA, Liver Acquisition with Volume Acceleration; NEX, number of average; SPAIR, spectrally selective attenuated inversion recovery; SPIR, spectral presaturation inversion recovery; SSFSE, single-shot fast spin echo; TE, echo time; TR, repetition time; TSE, turbo spin echo; VIBE, volume interpolated body examination.